## QALookUp
QACode | QAName
ANI | Sample results for structural isomers may have contribution from their isomeric pair
AWM | Detection limit increased due to dilution prior to final sample volume (not a secondary dilution)
AY | Matrix interference suspected
B | Analyte found in reagent blank, indicates possible reagent or background contamination
BB | Sample > 4x spike concentration
BBM | Sample > 2X but less than 4X spike concentration
BCI | The reporting limit is elevated due to a chromatographic interference
BCO | Sample received in improper container
BDL | 0 < quantification (threshold) cycle (Cq) <= Cq Limit of Detection (LOD)
BE | Low surrogate recovery; analyzed twice
BFRE | Sample influenced by fire
BH | Reporting limits raised due to high level of non-target analytes
BITR | Insufficient taxonomic resolution to calculate CSCI
BLM | Compound unidentified or below the RL due to overdilution
BLNO | Low number of organisms, may impact CSCI calculation
BQC | Taxonomy External Quality Control
BRK | Sample not analyzed, sample container broken
BRKA | Sample container broken but analyzed
BS | Insufficient sample available to follow standard QC procedures
BSAL | Sample influenced by saline conditions
BSCR | Sample influenced by scour or suspected scour event
BT | Insufficient sample to perform the analysis
BUCM | Untested or unknown benthic macroinvertebrate collection method
BUTP | Sampling conducted during unrepresentative time period for CSCI calculation
BV | Sample received after holding time expired
BWIM | Portion of upstream tributary watershed for benthic macroinvertebrates is in Mexico
BX | Sample stored at improper temperature
BY | Sample received at improper temperature
BZ | Sample preserved improperly
BZ15 | Sample not filtered within 15 minutes
C | Pesticide result confirmed using GC/MS- EPA Flag
CE | Sample not homogeneous
CIN | Value outside confidence interval
CJ | Analyte concentration is in excess of the instrument calibration; considered estimated
CK | Initial analysis within holding time but failed QA/QC criteria
CN | Hydrocarbon response in diesel range but does not resemble diesel
CNC | Calibration nonconformances
CNM | DRO (C10-C28) resembles weathered diesel
CNP | calibration not performed
CQA | Concentration not reported for QA sample only % Recovery or RPD reported
CS | QC criteria not met due to analyte concentration near RL
CSG | Bacteria result calculated using a subset of grids when the filter is too concentrated
CT | QC criteria not met due to high level of analyte concentration
CVH | Continuing calibration verification high, no bias
CVHB | Continuing calibration verification high, high bias
CZM | Project sample was heterogeneous and sample homogeneity could not be readily achieved using routine laboratory practices, therefore RPD was outside the specified acceptance limits
D | EPA Flag - Analytes analyzed at a secondary dilution
DB | QA results outside of acceptance limits due to matrix effects
DBLOD | Detected Below Limit of Detection used for PCR analysis only
DBM | QC results outside of acceptance limits, associated sample result not affected since analyte was not detected or below the reporting limit.
DF | Reporting limits elevated due to matrix interferences
DG | Reporting limits elevated due to sample dilution
DO | Coelution
DRM | Spike amount less than 5X the MDL
DS | Batch Quality Assurance data from another project
DT | Method detection limit elevated
DV | Reporting limit elevated due to final volume of the sample extract was higher than the nominal amount
E | EPA Flag - Analyte exceeded the concentration range of the GC/MS
ERV | Exceeds reference control limits
EUM | LCS is outside of control limits
EX | Matrix spike diluted to not detectable during analysis
F | Sample mistakenly filtered
FCL | Field calibration not performed within 24 hours before use
FDC | Drift check not acceptable
FDI | Field instrument displaced but still deployed in water
FDO | Field instrument displaced and removed from water
FDP | Field duplicate RPD above QC limit
FDPM | Field duplicate RPD above QC limit with results >=5 xRL
FDR | Dry Channel
FDS | Dry Site
FEU | Equipment Unavailable
FI | Analyte in field sample and associated blank
FIA | Location was inaccessible to obtain a measurement
FIB | Field instrument buried
FIF | Instrument/Probe Failure
FIO | Field instrument above water level
FIP | Field instrument vandalized, fouled, or otherwise in poor condition
FIT | Invalid time.
FLV | Velocity too low to be measured
FNM | no documentation of the field measurement collection exists
FO | Estimated maximum possible concentration (EMPC)
FS | Too Shallow for probe measurement
FTD | Location was too deep to obtain a measurement
FTT | Water too turbid to measure
FUD | Unable to deploy instrument
FX | Analyte present in the instrument blank
GB | Matrix spike recovery not within control limits
GBC | CRM analyte recovery not within control limits
GC | Second column confirmation performed
GCA | Second column confirmation absent (not reported)
GD | secondary column result
GIDA | Isotope Dilution Analogue recovery not within control limits
GN | Surrogate recovery is outside of control limits
GR | Internal standard recovery is outside method recovery limit
H | A holding time violation has occurred.
H22 | Sample exceeds incubation period of 18-22 hours.
H24 | Holding time was > 24 hours for Bacteria tests only
H8 | Holding time was > 8 hrs but < 24 hours for Bacteria tests only
HB | Result positively biased
HD | Chromat. profile inconsistent with pattern(s) of ref. fuel stnds.
HH | Result exceeds linear range; concentration may be understated
HL | Analyte recovery above established limit
HM | Analyte recovery below established limit
HNO2 | Holding time violation occurred on the NO2 concentration used for NO3 calculation.
HR | Post-digestion spike
HS | Spike analyte recovery is outside stated control limits
HSM | Sampling crew or submitting agency field spike recovery not within control limits
HT | Analytical value calculated using results from associated tests
HX | Spike recovery out of limits, but QC batch considered in control
IDA | Isotope Dilution Analogue corrected
IE | Surrogate not added to this sample
IF | Sample result is greater than reported value
IL | RPD exceeds laboratory control limit
ILM | RSD exceeds control limit
ILN | Rlog exceeds control limit
ILO | Rlog not calculated because concentration below RL
IM | Method does not include this analyte as part of compound list
IP | Analyte detected in field or lab generated blank
IP10 | Analyte detected in field or lab generated blank, >RL and >1/10 amount detected in associated environmental sample
IP5 | Analyte detected in field or lab generated blank, >RL and >1/5 amount detected in associated environmental sample
IPF | Analyte detected in field blank, data validation code
IPMDL2 | Analyte detected in field or lab generated blank, >10% lowest detection in batch and >2.2x MDL
IPMDL3 | Analyte detected in field or lab generated blank, >MDL and >30% lowest detection in batch
IPRL | Analyte detected in field or lab generated blank, >RL
IS | Reporting limit elevated due to pres. of analyte in method blank
IU | Percent Recovery exceeds laboratory control limit
IZM | Bottle integrity compromised, potential contamination
J | Estimated value - EPA Flag
JA | Analyte positively identified but quantitation is an estimate
JDL | Estimated result lower than detection limit
LA | Confirmatory analysis was past holding time
LC | Laboratory Contamination
LRGN | Data rejected - Surrogate recovery not within control limits, flagged by laboratory
LRIL | Data rejected - RPD exceeds laboratory control limit, flagged by laboratory
LRIP | Data rejected - Analyte detected in field or lab generated blank, flagged by laboratory
LRIU | Data rejected - Percent Recovery exceeds laboratory control limit, flagged by laboratory
LRJ | Data rejected - Estimated value - EPA Flag, flagged by laboratory
LRJA | Data rejected - Analyte positively identified but quantitation is an estimate, flagged by laboratory
LRM | Data rejected - A matrix effect is present, flagged by laboratory
LRQ | Data rejected - Based on professional judgement QA/QC protocols were not met, flagged by lab
LST | Sample was lost or destroyed
M | A matrix effect is present
MN | Method procedures not followed
N | Tentatively Identified Compound
NAS | Not adjusted for salinity
NBC | Value not blank corrected
NC | Analyte concentration not certifiable in Certified Reference Material
NG | The reported result is a negative value
NMDL | No Method Detection Limit reported from laboratory
None | None - No QA Qualifier
NR | Not Recorded
NRL | No Reporting Limit reported by the laboratory
OA | Analyte over range when run undiluted. Diluted result below PQL
OL | Result may be biased high due to carry over from prior analysis
OV | Result is averaged
P | Evidence analyte present
PEH | Sample was preserved to extend the holding time
PG | Calibration verification outside control limits
PI | Primary and confirmation results varied by > than 40%
PIL | RPD is within the lab or method defined acceptance criteria, but is outside of project-specific control limits
PJ | Result from re-extract/re-anal to confirm original MS/MSD result
PJM | Result from re-extract/re-anal to confirm original result
PJN | Result from re-extract/re-analysis for QC purposes only
PP | Dilutions for BOD failed criteria of 2 mg/L diss. O2 depletion
PRM | Low survival in toxicity test resulted from test interference due to pathogen-related mortality
Q | Questionable result
QAX | When the native sample for the MS/MSD or DUP is not included in the batch reported
QG | Individual analyte exceedances allowed per NELAC
R | Data rejected - EPA Flag
RE | Elevated reporting limits due to limited sample volume
RLST | Replicate lost or destroyed
ROQ | Quantification (threshold) cycle (Cq) > Cq Lower Limit of Quantification (LLOQ), positive result
RQ | Spike recovery not calculated due to high concentration of analyte
RQM | Spike recovery not calculated due to matrix interference
RU | LCS rec. within marginal exceedances, 3-4 s.d. around the mean.
RUM | Acceptable QC with marginal exceedance
RY | Standard Instrument related QC exceeds the control limits
RYM | Reporting Limit check standard failed laboratory defined acceptance criteria. Data is accepted based on passing method required QC
S | Sample Receipt nonconformance
SC | Surrogate Corrected Value
SCR | Screening level analysis
SLM | Analyte results for R1 and/or R2 were lower than 10 times the MDL, therefore RPD acceptance limits do not apply
SN | See narrative and/or special notes
SSM | Second source recovery below method control limit
TA | Ammonia precision or accuracy exceeds laboratory control limit
TAC | Alternative control used in toxicity statistical analysis
TAD | Additional metamorphosized or pupated organism accidently included in statistical analysis
TAE | Test organisms exceed age limit at test initiation
TAF | Test organisms exceed the maximum weight requirement at test initiation
TAS | Alternate species tested
TC | Conductivity precision or accuracy exceeds laboratory control limit
TCF | Alternative control does not meet test acceptability criteria
TCI | Conductivity insufficient for test species
TCT | Conductivity tolerance exceeded for test species
TD | DO precision or accuracy exceeds laboratory control limit
TEM | Endpoint not analyzed or reported by the laboratory
TH | Hardness precision or accuracy exceeds laboratory control limit
THS | Hydrogen sulfide precision or accuracy exceeds laboratory control limit
TK | Alkalinity precision or accuracy exceeds laboratory control limit
TL | Minor deviation in temperature or light (comment)
TMM | Male replicate excluded from test analysis
TMO | Test organisms escaped or are otherwise missing
TMSD | Endpoint considered not toxic; per EPA method, when both the relative difference from control and the test percent minimum significant difference (PMSD) are less than EPA lower PMSD bound (10th percentile)
TNC | Too numerous to count
TNS | Only neonate counts from surviving adults were used in the analysis
TOQ | Number of organisms in a toxicity test do not meet the minimum quantity per replicate at test initiation or an unequal quantity of organisms per replicate is used
TP | pH precision or accuracy exceeds laboratory control limit
TR | Test conditions not acceptable (temp, light)
TRT | Reference toxicant test failed due to control survival less than 80%
TS | Salinity precision or accuracy exceeds laboratory control limit
TW | Water quality parameters outside recommended test method ranges
TWN | Required water quality parameters not measured
TXP | Toxaphene results are based on a commercial Toxaphene mixture of unknown composition and therefore the concentrations listed in this report are estimated
UF | Counts outside acceptable range.
UJ | Analyte was not detected above the reported sample quantitation limit.Reported quantitation limit is approx. & may not represent the actual limit of quantitation necessary to accurately and precisely measure the analyte in the sample.
UKM | Lock mass interference present
ULM | Analyte detected in associated bottle blank check
UOL | Result determined to be an outlier at the time of data validation
UPM | Field duplicate exceeds QC limit with results < 5 x RL. Absolute difference is > RL
UT | Sample value was blank corrected
VBB | Sample > 4x spike concentration, flagged by QAO
VBCO | Sample received in improper container, flagged by QAO
VBS | Insufficient sample available to follow standard QC procedures, flagged by QAO
VBY | Sample received at improper temperature, flagged by QAO
VBZ | Sample preserved improperly, flagged by QAO
VBZ15 | Sample not filtered within 15 minutes, flagged by QAO
VC | Result was calculated by DMT when not provided for DNQ ResQualCode, value 1/2 distance between MDL and RL, flagged by QAO
VCJ | Analyte concentration is in excess of the instrument calibration; considered estimated, flagged by QAO
VCO | Sample analyte concentration detectable but <5X blank concentration (contamination), flagged by QAO
VCQ | Analyte concentration >10X blank concentration
VCR | Sample analyte concentration >5X blank concentration (True hit), flagged by QAO
VCS | QC criteria not met due to analyte concentration near RL, flagged by QAO
VD | EPA Flag - Analytes analyzed at a secondary dilution, flagged by QAO
VDG | Reporting limits elevated due to sample dilution, flagged by QAO
VEUM | LCS/LCM recovery not within control limits, flagged by QAO
VFCL | Field calibration not performed within 24 hours before use, flagged by QAO
VFDP | Field duplicate RPD above QC limit;flagged by QAO
VFIF | Instrument/Probe Failure, flagged by QAO
VFIRL | Invalid RL, suspected laboratory transcription error, flagged by QAO
VGB | Matrix spike recovery not within control limits, flagged by QAO
VGBC | CRM recovery not within control limits, flagged by QAO
VGN | Surrogate recovery not within control limits, flagged by QAO
VH | Holding time violation occurred, flagged by QAO
VH24 | Holding time was > 24 hours for Bacteria tests only, flagged by QAO
VH8 | Holding time was > 8 hrs but < 24 hours for Bacteria tests only, flagged by QAO
VHB | Result positively biased, flagged by QAO
VHS | Spike analyte recovery is outside stated control limits, flagged by QAO
VIL | RPD exceeds control limit, flagged by QAO
VIP | Analyte detected in field or lab generated blank, flagged by QAO
VIP5 | Analyte detected in field or lab generated blank, >RL and >1/5 amount detected in associated environmental sample, flagged by QAO
VIPF | Analyte detected in field blank, data validation code, flagged by QAO
VIPMDL2 | Analyte detected in field or lab generated blank, >10% lowest detection in batch and >2.2x MDL, flagged by QAO
VIPMDL3 | Analyte detected in field or lab generated blank, >MDL and >30% lowest detection in batch, flagged by QAO
VIPRL | Analyte detected in field or lab generated blank, >RL, flagged by QAO
VIU | Percent Recovery exceeds laboratory control limit, flagged by QAO
VJ | Estimated value - EPA Flag, flagged by QAO
VLB | Result negatively biased, flagged by QAO
VLMQO | Data did not meet laboratory MQO, but met project MQO, flagged by QAO
VM | A matrix effect is present, flagged by QAO
VNC | Analyte concentration not certifiable in Certified Reference Material, flagged by QAO
VNMDL | No Method Detection Limit reported from laboratory, flagged by QAO
VOL | Result may be biased high due to carry over from prior analysis, flagged by QAO
VPJM | Result from re-extract/re-anal to confirm original result, flagged by QAO
VPMQO | Data met laboratory MQO, but did not meet project MQO, flagged by QAO
VQ | Questionable result, flagged by QAO
VQAX | When the native sample for the MS/MSD or DUP is not included in the batch reported, flagged by QAO
VQCA | QA/QC protocols were not met for accuracy, flagged by QAO
VQCP | QA/QC protocols were not met for precision, flagged by QAO
VQN | No QA/QC performed or performed but not reported, used with historical data, Batch comment required
VR | Data rejected - EPA Flag, flagged by QAO
VRE | Elevated reporting limits due to limited sample volume, flagged by QAO
VREL | Reporting limits elevated due to change in lab capabilities, flagged by QAO
VRIL | Data rejected - RPD exceeds control limit, flagged by QAO
VRIP | Data rejected - Analyte detected in field or lab generated blank, flagged by QAO
VRIU | Data rejected - Percent Recovery exceeds laboratory control limit, flagged by QAO
VRVQ | Data rejected - Based on professional judgement QA/QC protocols were not met, flagged by QAO
VS | Sample Receipt nonconformance, flagged by QAO
VSCR | Screening level analysis, flagged by QAO
VTNC | Too numerous to count, flagged by QAO
VTW | Water quality parameters outside recommended test method ranges, flagged by QAO
VVQ | Based on professional judgement QA/QC protocols were not met, flagged by QAO
WE | Sample filtered immediately upon receipt by the laboratory.
XI | Hydrocarbon response in motor oil range but does not resemble motor oil